Class 15: Physical/chemical constituents

Note 23: A precipitation value of -0.1 kg m-2 before scaling (-1 after scaling or in CREX) shall indicate a "trace" (non-measurable, less than 0.05 kg m-2).

Note 25: A previously defined significance may be cancelled by transmitting a "missing" from the appropriate code or flag table.

Note 27: All times are Universal Time Coordinated (UTC) unless otherwise noted.

Note 32: Bearing or azimuth shall only be used with respect to a stated location, and shall not redefine that location.

Note 62: Distance shall only be used with respect to a stated location and a bearing, azimuth or elevation; it shall not redefine that location.

Note 63: Downward radiation shall be assigned positive values.

Note 64: Downward w-components shall be assigned positive values where units are Pa s-1.

Note 66: East to west increments shall be assigned negative values.

Note 75: For CREX descriptors F = B, not 0.

Note 92: In order to distinguish unambiguously the cases of missing data and saturated pixels, n-bit image data should be encoded using a data width of n+1. Where such a descriptor is not already available in Class 30, operator descriptor 2 01 YYY should be used to modify the data width of the existing entry as required.

Note 105: Negative time periods or displacements shall be used to indicate time periods or displacements preceding the currently defined time.

Note 110: North to south increments shall be assigned negative values.

Note 115: Pixel data width can be changed with descriptor 2 01 YYY.

Note 121: Some indication of expected accuracy may be implied in conjunction with certain elements in this class.

Note 122: South latitude shall be assigned negative values.

Note 123: South to north v-components shall be assigned positive values.

Note 126: Surface wind direction measured at a station within 1° of the North Pole or within 1° of the South Pole shall be reported in such a way that the azimuth ring shall be aligned with its zero coinciding with the Greenwich 0° meridian.

Note 140: The pixel size on horizontal - 1 is given at location where map scale factor is unity.

Note 141: The pixel size on horizontal - 2 is given at location where map scale factor is unity.

Note 145: The significance of time periods or displacements may be indicated using the time significance code corresponding to table reference 0 08 021.

Note 149: The time location, when used with forecast values, shall indicate the time of the initial state for the forecast, or the beginning of the forecast period; when used with ensemble means of forecast values, the time location shall indicate the initial state or the beginning of the first forecast over which ensemble means are derived.

Note 155: This class may also contain elements relating to observational procedures.

Note 156: This class shall contain elements to describe the instrumentation used to obtain the meteorological elements reported.

Note 158: Time periods or displacements and time increments require an initial time location to be defined prior to their use, followed where appropriate by a time significance definition.

Note 160: Upward radiation shall be assigned negative values.

Note 161: Upward w-components shall be assigned positive values where units are m s-1.

Note 162: Useful ranges used above:1011 Bq to 1019 Bq for releases;10-2 Bq to 107 Bq and 10-2 mSv to 107 mSv for concentration and doses.

Note 163: Values of latitude and latitude increments are limited to the range -90 degrees to +90 degrees.

Note 164: Values of longitude are limited to the range -180 degrees to +180 degrees.

Note 165: Vertical elements and pressure shall be used to define values of these elements independent of the element or variable denoting the vertical coordinate.

Note 166: West longitude shall be assigned negative values.

Note 167: West to east u-components shall be assigned positive values.

Note 176: Where more than one time period or displacement is required to define complex time structures, they shall be defined in immediate succession, and the following ordering shall apply: ensemble period (if required), followed by forecast period (if required), followed by period for averaging or accumulation (if required).

Note 178: Where the expression "period specified" is entered under element name, an appropriate period shall be specified using descriptors from Class 04.

Note 179: Where values are accumulated or averaged (for example over a time period), the total number of values from which the accumulated or averaged values are obtained may be represented using reference 0 08 022.

Note 180: Wind reporting standards: Speed Direction No observation Missing Missing Calm 0 0 Normal observation > 0 1° - 360° Speed only > 0 Missing Direction only Missing 1°-360° "Light and variable" > 0 0

Note 181: Wind waves and waves reporting standards:Observation Speed Direction No observation Missing Missing Calm 0 0 Normal observation >0 1-360 Speed only >0 Missing Direction only Missing 1-360"Light and variable" >0 0

| FXY | ELEMENT NAME | BUFR UNIT | SCALE | REF VALUE | BITS | CREX UNIT | SCALE | CHARS | NOTE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0 15 001 | Total ozone | DU | 0 | 0 | 10 | DU | 0 | 4 |  |
| 0 15 002 | Air mass (slant path at 22 km) | Numeric | 2 | 0 | 10 | Numeric | 2 | 3 |  |
| 0 15 003 | Measured ozone partial pressure (sounding) | Pa | 4 | 0 | 9 | nbar | 0 | 3 | Note 1: 3 04 035 is deprecated. |
| 0 15 004 | Ozone sounding correction factor (CF) | Numeric | 3 | 0 | 11 | Numeric | 3 | 4 | Note 2: 3 07 082 is deprecated. |
| 0 15 005 | Ozone p | DU | 0 | 0 | 10 | DU | 0 | 3 | Note 3: 3 10 027 is deprecated. |
| 0 15 006 | Log10 of number density of atmosphere | log(m-3) | 5 | 1800000 | 20 | log(m-3) | 5 | 7 |  |
| 0 15 007 | Estimated amount of chemical constituent | DU | 2 | 0 | 16 | DU | 2 | 6 |  |
| 0 15 008 | Significand of volumetric mixing ratio | Numeric | 0 | 0 | 10 | Numeric | 0 | 4 |  |
| 0 15 009 | Log10 of number density of ozone | log(m-3) | 5 | 1200000 | 20 | log(m-3) | 5 | 7 |  |
| 0 15 011 | Log10 of integrated electron density | log (m-2) | 3 | 14000 | 13 | log (m-2) | 3 | 4 |  |
| 0 15 012 | Total electron count per square metre | m-2 | -16 | 0 | 6 | m-2 | -16 | 2 |  |
| 0 15 015 | Maximum image spectral component before normalization | Numeric | 0 | 0 | 31 | Numeric | 0 | 10 |  |
| 0 15 020 | Integrated ozone density | kg m-2 | 8 | 0 | 21 | kg m-2 | 8 | 7 |  |
| 0 15 021 | Integrated mass density | kg m-2 | 11 | 0 | 31 | kg m-2 | 11 | 10 |  |
| 0 15 022 | Extended integrated mass density | kg m-2 | 1 | -100000000 | 31 | kg m-2 | 1 | 10 |  |
| 0 15 024 | Optical depth | Numeric | 4 | 0 | 24 | Numeric | 4 | 8 |  |
| 0 15 025 | Type of pollutant | Code table | 0 | 0 | 4 | Code table | 0 | 2 |  |
| 0 15 026 | Concentration of pollutant (mol mol-1) | mol/mol | 9 | 0 | 9 | mol/mol | 9 | 3 |  |
| 0 15 027 | Concentration of pollutant (kg m-3) | kg m-3 | 9 | 0 | 10 | kg m-3 | 9 | 4 |  |
| 0 15 028 | Mole fraction of atmospheric constituent/pollutant in dry air | 0/00 | 5 | 0 | 16 | 0/00 | 5 | 5 |  |
| 0 15 029 | Extinction coefficient | /m | 9 | 0 | 30 | /m | 9 | 10 |  |
| 0 15 030 | Aerosol contamination index | Numeric | 2 | -1000 | 12 | Numeric | 2 | 4 | Note 79: It is recommended to use 3 15 023 instead of 3 15 013. |
| 0 15 031 | Atmospheric path delay in satellite signal | m | 4 | 10000 | 15 | m | 4 | 5 |  |
| 0 15 032 | Estimated error in atmospheric path delay | m | 4 | 0 | 10 | m | 4 | 4 |  |
| 0 15 033 | Difference in path delays for limb views at extremes of scan | m | 5 | -10000 | 15 | m | 5 | 5 |  |
| 0 15 034 | Estimated error in path delay difference | m | 5 | 0 | 14 | m | 5 | 5 |  |
| 0 15 035 | Component of zenith path delay due to water vapour | m | 4 | 0 | 14 | m | 4 | 5 |  |
| 0 15 036 | Atmospheric refractivity | N units | 3 | 0 | 19 | N units | 3 | 6 | Note 142: The refractivity, N, is related to the refractive index, n, by the formula N = 106 (n - 1). N is therefore dimensionless but values computed by the formula are by convention described as being in "N units". |
| 0 15 037 | Bending angle | rad | 8 | -100000 | 23 | rad | 8 | 7 |  |
| 0 15 038 | Path delay due to neutral atmosphere | m | 4 | 0 | 20 | m | 4 | 11 | Note 4: Additional descriptors are required to reduce the workload with respect to the station database, e.g. for identification of the federal state and identification of the highway. |
| 0 15 039 | Estimated error in neutral atmosphere path delay | m | 4 | 0 | 14 | m | 4 | 9 |  |
| 0 15 041 | Sulphur dioxide index | Numeric | 2 | -1200 | 14 | Numeric | 2 | 4 | Note 78: Within RA IV, the maximum temperature at 1200 UTC is reported for the previous calendar day (i.e. the ending time of the period is not equal to the nominal time of the report). To construct the required time range, descriptor 0 04 024 has to be included two times. If the period ends at the nominal time of the report, value of the second 0 04 024 shall be set to 0 |
| 0 15 042 | Reflectance | % | 2 | 0 | 14 | % | 2 | 5 |  |
| 0 15 043 | Number of averaging kernel layers | Numeric | 0 | 0 | 10 | Numeric | 0 | 0 |  |
| 0 15 044 | Averaging kernel value | Numeric | 6 | -5000000 | 31 | Numeric | 0 | 0 |  |
| 0 15 045 | Sulphur dioxide | DU | 2 | -2000 | 15 | DU | 2 | 5 | Note 77: Within RA III, the maximum daytime temperature and the minimum night-time temperature is reported (i.e. the ending time of the period may not be equal to the nominal time of the report). To construct the required time range, descriptor 0 04 024 has to be included two times. If the period ends at the nominal time of the report,value of the second 0 04 024 shall be set to 0. |
| 0 15 046 | Volcano contamination index | Numeric | 2 | -1000 | 11 | Numeric | 2 | 4 | Note 80: For a discussion of 'Forecast indices from ground-based microwave radiometers for operational meteorology' see: https://doi.org/10.5194/amt-8-315-2015. |
| 0 15 049 | Aerosol Angstrom wavelength exponent | Numeric | 3 | -2000 | 14 | Numeric | 3 | 5 |  |
| 0 15 051 | Meteorological optical range | m | 0 | 0 | 18 | m | 0 | 6 |  |
| 0 15 052 | Log10 of number density of aerosol particles with diameter greater than 5 nm | log (m-3) | 1 | 60 | 6 | log (m-3) | 1 | 3 |  |
| 0 15 053 | Log10 of number density of aerosol particles with diameter greater than 14 nm | log (m-3) | 2 | 600 | 9 | log (m-3) | 2 | 4 |  |
| 0 15 054 | Log10 of number density of aerosol particles with diameter between 0.25 and 2.5 um | log (m-3) | 2 | 550 | 9 | log (m-3) | 2 | 4 |  |
| 0 15 055 | Non volatile aerosol ratio | Numeric | 2 | 0 | 7 | Numeric | 2 | 3 |  |
| 0 15 062 | Aerosol optical thickness | Numeric | 3 | -1000 | 14 | Numeric | 3 | 5 |  |
| 0 15 063 | Attenuated backscatter | m-1 sr-1 | 8 | 0 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 064 | Uncertainty in attenuated backscatter | m-1 sr-1 | 8 | 0 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 065 | Particle backscatter coefficient | m-1 sr-1 | 8 | 0 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 066 | Uncertainty in particle backscatter coefficient | m-1 sr-1 | 8 | 0 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 067 | Particle extinction coefficient | m-1 | 8 | 0 | 20 | m-1 | 8 | 7 |  |
| 0 15 068 | Uncertainty in particle extinction coefficient | m-1 | 8 | 0 | 20 | m-1 | 8 | 7 |  |
| 0 15 069 | Particle lidar ratio | sr | 2 | 0 | 14 | sr | 2 | 5 |  |
| 0 15 070 | Uncertainty in lidar ratio | sr | 2 | 0 | 14 | sr | 2 | 5 |  |
| 0 15 071 | Particle depolarization ratio | % | 2 | 0 | 14 | % | 2 | 5 |  |
| 0 15 072 | Uncertainty in depolarization ratio | % | 2 | 0 | 14 | % | 2 | 5 |  |
| 0 15 073 | Attenuated backscatter | m-1 sr-1 | 8 | -524288 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 074 | Particle backscatter coefficient | m-1 sr-1 | 8 | -524288 | 20 | m-1 sr-1 | 8 | 7 |  |
| 0 15 075 | Particle extinction coefficient | m | 8 | -524288 | 20 | m-1 | 8 | 7 |  |
| 0 15 076 | Particle lidar ratio | sr | 1 | -2048 | 13 | sr | 1 | 5 |  |
| 0 15 077 | Uncertainty in lidar ratio | sr | 1 | 0 | 12 | sr | 1 | 5 |  |
| 0 15 078 | Particle depolarization ratio | % | 2 | -8192 | 15 | % | 2 | 5 |  |
| 0 15 079 | Zenith path delay due to neutral atmosphere | m | 4 | 0 | 15 | m | 4 | 9 | Note 5: As supplied by originating sub-centre ARINC, this value is a pseudo-value rather than the actual value. The Relationship between this pseudo-value and the true value is known only by ARINC. |
| 0 15 080 | Estimated error in neutral atmosphere zenith path delay | m | 4 | 0 | 12 | m | 4 | 8 |  |
| 0 15 081 | Wet path delay due to neutral atmosphere | m | 4 | 0 | 18 | m | 4 | 10 | Note 6: Code table values: FRQ = code figure 8 (8 oktas) OCNL EMBD = code figure 6 (6 oktas) ISOL = code figure 2 (2 oktas) when the cloud = Cb. |
| 0 15 082 | Path integrated water vapour | kg m-2 | 1 | 0 | 16 | kg m-2 | 1 | 10 | Note 16: Each BUFR message may contain data for a number of locations; the BUFR compression technique involves negligible overheads for data items that are invariant. |
| 0 15 083 | GNSS derived neutral atmosphere gradient | m | 5 | -8192 | 14 | m | 5 | 9 | Note 7: Compound BUFR messages may be described within the data description section, if required (e.g. 3 01 041, 3 04 001, 3 04 002, 3 04 003, 3 04 004, 3 04 005, 3 04 006). |
| 0 15 084 | GNSS least squares residual | m | 4 | 0 | 14 | m | 4 | 9 | Note 17: Each position of road sensors includes the measurements of: - Road surface temperature - Road subsurface temperatures - Water film thickness - Road surface condition |
| 0 15 085 | GNSS multi-path delay | m | 4 | 0 | 14 | m | 4 | 9 | Note 8: Data represented by this sequence should be sorted in descending order with respect to pressure. |
| 0 15 086 | GNSS hydrostatic mapping function | Numeric | 3 | 0 | 16 | Numeric | 3 | 10 | Note 22: Full directional spectra (Ib = 1 in WAVEOB with more than one direction per wave number band). The replication count is the number of directions per wave number band that should normally cover the full circle. |
| 0 15 087 | GNSS wet mapping function | Numeric | 3 | 0 | 16 | Numeric | 3 | 10 | Note 22: Full directional spectra (Ib = 1 in WAVEOB with more than one direction per wave number band). The replication count is the number of directions per wave number band that should normally cover the full circle. |
| 0 15 088 | GNSS gradient mapping function | Numeric | 3 | 0 | 16 | Numeric | 3 | 10 | Note 22: Full directional spectra (Ib = 1 in WAVEOB with more than one direction per wave number band). The replication count is the number of directions per wave number band that should normally cover the full circle. |
| 0 15 089 | Zenith path delay due to neutral hydrostatic atmosphere | m | 4 | 0 | 15 | m | 4 | 9 | Note 18: No operator descriptors are reserved for local use. |
| 0 15 090 | Path delay due to neutral hydrostatic atmosphere | m | 4 | 0 | 20 | m | 4 | 11 | Note 19: An event, as defined for use with operators 2 41 000 and 2 42 000, is a set of one or more circumstances described using appropriate Table B descriptors along with their corresponding data values. The grouping of such descriptors together as a single "event" allows them to be collectively assigned as the target of a separate descriptor such as 0 33 045 or 0 33 046. When defining a circumstance within an event, descriptor 0 33 042 may be employed preceding the appropriate Table B descriptor in order to indicate that the corresponding value is actually a bound for a range of values. |