Class 03

0 03 001  Surface station type

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Land station (synoptic network) |  |
| 1 | Shallow water station (fixed to sea/lake floor) |  |
| 2 | Ship |  |
| 3 | Rig/platform |  |
| 4 | Moored buoy |  |
| 5 | Drifting buoy (or drifter) |  |
| 6 | Ice buoy |  |
| 7 | Land station (local network) |  |
| 8 | Land vehicle |  |
| 9 | Autonomous marine vehicle |  |
| 10 | Tag attached to marine animal |  |
| 11-30 | Reserved for future use |  |
| 31 | Missing value |  |

0 03 003  Thermometer/hygrometer housing

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Screen |  |
| 1 | Sling/whirling |  |
| 2 | Unscreened |  |
| 3 | Radiation shield |  |
| 4 | Aspirated (e.g. Assmann) |  |
| 5 | Other shelter |  |
| 6 | Handheld |  |
| 7-14 | Reserved for future use |  |
| 15 | Missing value |  |

0 03 004  Type of screen/shelter/radiation shield

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Stevenson screen |  |
| 1 | Marine Stevenson screen |  |
| 2 | Cylindrical section plate shield |  |
| 3 | Concentric tube |  |
| 4 | Rectangular section shield |  |
| 5 | Square section shield |  |
| 6 | Triangular section shield |  |
| 7 | Open covered lean-to |  |
| 8 | Open covered inverted V roof |  |
| 9 | Integrated (e.g. chilled mirror) |  |
| 10-14 | Reserved for future use |  |
| 15 | Missing value |  |

0 03 008  Artificially ventilated screen or shield

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Natural ventilation in use |  |
| 1 | Artificial aspiration in use: constant flow at time of reading |  |
| 2 | Artificial aspiration in use: variable flow at time of reading |  |
| 3-6 | Reserved |  |
| 7 | Missing value |  |

0 03 010  Method of sea/water current measurement

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Reserved |  |
| 1 | ADCP | Note CF91: Code figure 1 is deprecated. Code figure 6 should be used instead. |
| 2 | GEK (Geomagnetic ElectroKinetograph) |  |
| 3 | Ship's set and drift determined by fixes 3-6 hours apart |  |
| 4 | Ship's set and drift determined by fixes more than 6 hours but less than 12 hours apart |  |
| 5 | Drift of buoy |  |
| 6 | ADCP |  |
| 7 | ADCP bottom tracking mode |  |
| 8 | Electromagnetic sensor |  |
| 9 | Rotor and vane |  |
| 10 | Lowered ADCP |  |
| 11-14 | Reserved |  |
| 15 | Missing value |  |

0 03 011  Method of depth calculation

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Depth calculated using fall rate equation |  |
| 1 | Depth calculated from water pressure/equation of state |  |
| 2 | Reserved |  |
| 3 | Missing value |  |

0 03 012  Instrument type/sensor for dissolved oxygen measurement

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Anderraa oxygen optode |  |
| 1 | Winkler bottle |  |
| 2-14 | Reserved |  |
| 15 | Missing value |  |

0 03 016  Position of road sensors

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Fast lane between the wheel tracks |  |
| 1 | Fast lane between the wheel tracks in the opposite direction |  |
| 2 | Fast lane in the wheel tracks |  |
| 3 | Fast lane in the wheel tracks in the opposite direction |  |
| 4 | Slow lane between the wheel tracks |  |
| 5 | Slow lane between the wheel tracks in the opposite direction |  |
| 6 | Slow lane in the wheel tracks |  |
| 7 | Slow lane in the wheel tracks in the opposite direction |  |
| 8-14 | Reserved |  |
| 15 | Missing value |  |

0 03 017  Extended type of station

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 1 | Automatic |  |
| 2 | Manned |  |
| 3 | Event triggered |  |
| 4 | Longer time period than the standard |  |
| 5 | Reserved |  |
| All 6 | Missing value |  |

0 03 018  Type of road

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Free track without further information |  |
| 1 | Free track, embankment |  |
| 2 | Free track, flat relative to surroundings |  |
| 3 | Free track, water basin(s) in vicinity |  |
| 4 | Free track, forest |  |
| 5 | Free track, cleft |  |
| 6 | Free track, on hilltop |  |
| 7 | Free track, on hilltop, forest |  |
| 8 | Free track, in valley |  |
| 9 | Free track, in valley, forest |  |
| 10 | Free track, north inclination |  |
| 11 | Free track, north inclination, forest |  |
| 12 | Free track, south inclination |  |
| 13 | Free track, south inclination, forest |  |
| 14-19 | Reserved |  |
| 20 | Bridge without further information |  |
| 21 | Bridge across a valley in an urban area |  |
| 22 | Bridge across a valley with forest/meadows/fields |  |
| 23 | Bridge across street/track |  |
| 24 | Bridge across big river/canal |  |
| 25 | Bridge across river/canal of medium size |  |
| 26 | Bridge across a small stream/loading canal |  |
| 27-30 | Reserved |  |
| 31 | Missing value |  |

0 03 019  Type of construction

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Asphalt |  |
| 1 | Concrete |  |
| 2 | Concrete construction |  |
| 3 | Steel-girder construction |  |
| 4 | Box girder bridge |  |
| 5 | Orthotropic slab |  |
| 6 | Drain asphalt |  |
| 7-14 | Reserved |  |
| 15 | Missing value |  |

0 03 020  Material for thermometer/hygrometer housing

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Wood |  |
| 1 | Metal alloy |  |
| 2 | Plastic/GRP |  |
| 3 | Reed/grass/leaf |  |
| 4-6 | Reserved for future use |  |
| 7 | Missing value |  |

0 03 021  Hygrometer heating

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Unheated |  |
| 1 | Heated |  |
| 2 | Not applicable |  |
| 3 | Missing value |  |

0 03 022  Instrument owner

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | National hydrometeorological/weather service |  |
| 1 | Other |  |
| 2 | Standards institute |  |
| 3-6 | Reserved for future use |  |
| 7 | Missing value |  |

0 03 023  Configuration of louvers for thermometer/hygrometer screen

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Single v-section louvers |  |
| 1 | Overlapping louvers |  |
| 2 | Double v-section louvers |  |
| 3 | Non-overlapping louvers |  |
| 4 | Vented, non-louvered |  |
| 5 | Not applicable |  |
| 6 | Reserved for future use |  |
| 7 | Missing value |  |

0 03 027  Type of flight rig

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Solo (single radiosonde) |  |
| 1 | Block |  |
| 2 | Bar |  |
| 3 | Cross |  |
| 4 | T-rig |  |
| 5 | Double T-rig |  |
| 6 | Complex |  |
| 7-14 | Reserved |  |
| 15 | Missing value |  |

0 03 028  Method of snow water equivalent measurement

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Multi point manual snow survey |  |
| 1 | Single point manual snow water equivalent measurement |  |
| 2 | Snow pillow or snow scale |  |
| 3 | Passive gamma |  |
| 4 | GNSS/GPS methods |  |
| 5 | Cosmic ray attenuation |  |
| 6 | Time domain reflectometry |  |
| 7-62 | Reserved |  |
| 63 | Missing value |  |

0 03 029  Swath

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Left hand side |  |
| 1 | Right hand side |  |
| 2-6 | Reserved |  |
| 7 | Missing |  |

0 03 030  Antenna status

| CODE FIGURE | ENTRY NAME | NOTE |
| --- | --- | --- |
| 0 | Transmitting |  |
| 1 | Receiving |  |
| 2-6 | Reserved |  |
| 7 | Missing |  |