Category 21: Radar report sequences

3 21 001 (Wind profiler - antenna characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 101 | Type of antenna |  |  |
| 0 02 114 | Antenna effective surface area |  |  |
| 0 02 105 | Maximum antenna gain |  |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 0 02 107 | Sidelobe suppression |  |  |
| 0 02 121 | Mean frequency |  |  |

3 21 003 (Wind profiler - moment data)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 051 | Signal power above 1 mW |  |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 004 (Wind profiler - moment data sounding)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 3 01 031 | Identification and type of station, date/time, location (high accuracy), height of station |  |  |
| 0 02 003 | Type of measuring equipment used |  |  |
| 1 01 000 | Delayed replication of 1 descriptor |  |  |
| 0 31 001 | Delayed descriptor replication factor |  |  |
| 3 21 003 | Wind profiler - moment data |  |  |

3 21 005 (Transmitter-receiver characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 004 | Echo processing |  |  |
| 0 02 121 | Mean frequency |  |  |
| 0 02 122 | Frequency agility range |  |  |
| 0 02 123 | Peak power |  |  |
| 0 02 124 | Average power |  |  |
| 0 02 125 | Pulse repetition frequency |  |  |
| 0 02 126 | Pulse width |  |  |
| 0 02 127 | Receiver intermediate frequency |  |  |
| 0 02 128 | Intermediate frequency bandwidth |  |  |
| 0 02 129 | Minimum detectable signal |  |  |
| 0 02 130 | Dynamic range |  |  |
| 0 02 131 | Sensitivity time control (STC) |  |  |

3 21 006 (Integration characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 001 | Range-gate length |  |  |
| 0 25 002 | Number of gates averaged |  |  |
| 0 25 003 | Number of integrated pulses |  |  |
| 0 25 005 | Echo integration |  |  |

3 21 007 (Corrections)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 009 | Calibration method |  |  |
| 0 25 010 | Clutter treatment |  |  |
| 0 25 011 | Ground occultation correction (screening) |  |  |
| 0 25 012 | Range attenuation correction |  |  |
| 0 25 013 | Bright-band correction |  |  |
| 0 25 015 | Radome attenuation correction |  |  |
| 0 25 016 | Clear-air attenuation correction |  |  |
| 0 25 017 | Precipitation attenuation correction |  |  |

3 21 008 (Z to R conversion)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 006 | Z to R conversion |  |  |
| 0 25 007 | Z to R conversion factor |  |  |
| 0 25 008 | Z to R conversion exponent |  |  |

3 21 009 (A to Z law)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 018 | A to Z law for attenuation factor |  |  |
| 0 25 019 | A to Z law for attenuation exponent |  |  |

3 21 010 (Antenna characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 101 | Type of antenna |  |  |
| 0 07 002 | Height or altitude | Altitude of the tower base |  |
| 0 02 102 | Antenna height above tower base |  |  |
| 0 02 103 | Radome |  |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 02 105 | Maximum antenna gain |  |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 0 02 107 | Sidelobe suppression |  |  |
| 0 02 108 | Crosspol discrimination (on axis) |  |  |
| 0 02 109 | Antenna speed (azimuth) |  |  |
| 0 02 110 | Antenna speed (elevation) |  |  |
| 0 02 132 | Azimuth pointing accuracy |  |  |
| 0 02 133 | Elevation pointing accuracy |  |  |

3 21 011 (General characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 30 031 | Picture type |  |  |
| 0 30 032 | Combination with other data |  |  |
| 0 29 002 | Coordinate grid type |  |  |

3 21 012 (Antenna elevations)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 1 01 000 | Delayed replication of 1 descriptor |  |  |
| 0 31 001 | Delayed descriptor replication factor |  |  |
| 0 02 135 | Antenna elevation |  |  |

3 21 021 (Basic information (system/site header) on wind profiler/RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 003 | Type of measuring equipment used |  |  |
| 0 02 101 | Type of antenna |  |  |
| 2 01 130 | Change data width | 8 bits long |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 132 | Change data width | 11 bits long |  |
| 2 02 130 | Change scale | Scale: -6 |  |
| 0 02 121 | Mean frequency |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 133 | Change data width | 11 bits long |  |
| 2 02 129 | Change scale | Scale: 0 |  |
| 0 25 001 | Range-gate length |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 022 (Wind profiler: processed-data winds)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 11 001 | Wind direction |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 11 002 | Wind speed |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 11 006 | w-component |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 023 (Wind profiler: raw-data winds)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 0 21 091 | Radar signal Doppler spectrum 0th moment |  |  |
| 0 21 030 | Signal to noise ratio |  |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 024 (RASS-mode: processed-data RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 12 007 | Virtual temperature |  |  |
| 0 11 006 | w-component |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 025 (RASS-mode: raw-data RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 0 21 091 | Radar signal Doppler spectrum 0th moment |  |  |
| 0 21 030 | Signal to noise ratio |  |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |
| 0 21 092 | RASS signal Doppler spectrum 0th moment, referring to RASS signal |  |  |
| 0 21 030 | Signal to noise ratio | Referring to RASS signal |  |
| 0 25 092 | Acoustic propagation velocity |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 017 | Doppler velocity spectral width | Referring to RASS signal |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 026 (RASS data - fluxes)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 12 007 | Virtual temperature |  |  |
| 0 25 091 | Structure constant of the refraction index (Cn2) |  |  |
| 0 11 071 | Turbulent vertical momentum flux |  |  |
| 0 11 072 | Turbulent vertical buoyancy flux |  |  |
| 0 11 073 | Turbulent kinetic energy |  |  |
| 0 11 074 | Dissipation energy |  |  |
| 2 04 000 | Add associated field | Cancel |  |

3 21 027 (Radar specification, normalized radar cross-section, Kp variance coefficient)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 118 | Attenuation correction on sigma-0 |  |  |
| 2 02 129 | Change scale |  |  |
| 2 01 132 | Change data width |  |  |
| 0 02 112 | Radar look angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 131 | Change data width |  |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 21 105 | Normalized radar cross-section |  |  |
| 0 21 106 | Kp variance coefficient (alpha) |  |  |
| 0 21 107 | Kp variance coefficient (beta) |  |  |
| 0 21 114 | Kp variance coefficient (gamma) |  |  |
| 0 21 115 | SEAWINDS sigma-0 quality |  |  |
| 0 21 116 | SEAWINDS sigma-0 mode |  |  |
| 0 08 018 | SEAWINDS land/ice surface type |  |  |
| 0 21 117 | Sigma-0 variance quality control |  |  |

3 21 028 (Radar specification, SEAWINDS normalized radar cross-section, Kp variance coefficient)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 118 | Attenuation correction on sigma-0 |  |  |
| 2 02 129 | Change scale |  |  |
| 2 01 132 | Change data width |  |  |
| 0 02 112 | Radar look angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 131 | Change data width |  |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 21 123 | SEAWINDS normalized radar cross-section |  |  |
| 0 21 106 | Kp variance coefficient (alpha) |  |  |
| 0 21 107 | Kp variance coefficient (beta) |  |  |
| 0 21 114 | Kp variance coefficient (gamma) |  |  |
| 0 21 115 | SEAWINDS sigma-0 quality |  |  |
| 0 21 116 | SEAWINDS sigma-0 mode |  |  |
| 0 08 018 | SEAWINDS land/ice surface type |  |  |
| 0 21 117 | Sigma-0 variance quality control |  |  |

3 21 030 (ASCAT sigma-0 information)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 08 085 | Beam identifier |  |  |
| 2 02 129 | Change scale | Increase scale by 101 |  |
| 2 01 131 | Change data width | Increase width by 3 bits |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 134 | Antenna beam azimuth |  |  |
| 0 21 062 | Backscatter |  |  |
| 0 21 063 | Radiometric resolution (noise value) |  |  |
| 0 21 158 | ASCAT Kp estimate quality |  |  |
| 0 21 159 | ASCAT sigma-0 usability |  |  |
| 0 21 160 | ASCAT use of synthetic data |  |  |
| 0 21 161 | ASCAT synthetic data quantity |  |  |
| 0 21 162 | ASCAT satellite orbit and attitude quality |  |  |
| 0 21 163 | ASCAT solar array reflection contamination |  |  |
| 0 21 164 | ASCAT telemetry presence and quality |  |  |
| 0 21 165 | ASCAT extrapolated reference function presence |  |  |
| 0 21 166 | Land fraction |  |  |

3 21 031 (Satellite radar observations)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 01 007 | Satellite identifier |  |  |
| 0 02 019 | Satellite instruments |  |  |
| 0 01 033 | Identification of originating/generating centre |  |  |
| 0 01 034 | Identification of originating/generating sub-centre |  |  |
| 3 01 011 | Year, month, day |  |  |
| 3 01 013 | Hour, minute, second |  |  |
| 3 01 021 | Latitude/longitude (high accuracy) |  |  |
| 0 10 033 | Altitude (platform to ellipsoid) |  |  |
| 0 08 043 | Atmospheric chemical or physical constituent type | Cloud |  |
| 0 25 139 | Processing level |  |  |
| 0 02 153 | Satellite channel centre frequency |  |  |
| 1 06 000 | Delayed replication of 6 descriptors |  |  |
| 0 31 002 | Extended delayed descriptor replication factor |  |  |
| 0 07 071 | Height (high resolution) |  |  |
| 0 21 007 | Radar reflectivity factor |  |  |
| 0 21 008 | Uncertainty in radar reflectivity factor |  |  |
| 0 21 009 | Vertical Doppler velocity |  |  |
| 0 21 010 | Uncertainty in vertical Doppler velocity |  |  |
| 0 33 003 | Quality information |  |  |