Category 21: Radar report sequences

3 21 001 (Wind profiler - antenna characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 101 | Type of antenna |  |  |
| 0 02 114 | Antenna effective surface area |  |  |
| 0 02 105 | Maximum antenna gain |  |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 0 02 107 | Sidelobe suppression |  |  |
| 0 02 121 | Mean frequency |  |  |

3 21 003 (Wind profiler - moment data)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 051 | Signal power above 1 mW |  |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 004 (Wind profiler - moment data sounding)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 3 01 031 | Identification and type of station, date/time, location (high accuracy), height of station |  |  |
| 0 02 003 | Type of measuring equipment used |  |  |
| 1 01 000 | Delayed replication of 1 descriptor |  |  |
| 0 31 001 | Delayed descriptor replication factor |  |  |
| 3 21 003 | Wind profiler - moment data |  |  |

3 21 005 (Transmitter-receiver characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 004 | Echo processing |  |  |
| 0 02 121 | Mean frequency |  |  |
| 0 02 122 | Frequency agility range |  |  |
| 0 02 123 | Peak power |  |  |
| 0 02 124 | Average power |  |  |
| 0 02 125 | Pulse repetition frequency |  |  |
| 0 02 126 | Pulse width |  |  |
| 0 02 127 | Receiver intermediate frequency |  |  |
| 0 02 128 | Intermediate frequency bandwidth |  |  |
| 0 02 129 | Minimum detectable signal |  |  |
| 0 02 130 | Dynamic range |  |  |
| 0 02 131 | Sensitivity time control (STC) |  |  |

3 21 006 (Integration characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 001 | Range-gate length |  |  |
| 0 25 002 | Number of gates averaged |  |  |
| 0 25 003 | Number of integrated pulses |  |  |
| 0 25 005 | Echo integration |  |  |

3 21 007 (Corrections)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 009 | Calibration method |  |  |
| 0 25 010 | Clutter treatment |  |  |
| 0 25 011 | Ground occultation correction (screening) |  |  |
| 0 25 012 | Range attenuation correction |  |  |
| 0 25 013 | Bright-band correction |  |  |
| 0 25 015 | Radome attenuation correction |  |  |
| 0 25 016 | Clear-air attenuation correction |  |  |
| 0 25 017 | Precipitation attenuation correction |  |  |

3 21 008 (Z to R conversion)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 006 | Z to R conversion |  |  |
| 0 25 007 | Z to R conversion factor |  |  |
| 0 25 008 | Z to R conversion exponent |  |  |

3 21 009 (A to Z law)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 25 018 | A to Z law for attenuation factor |  |  |
| 0 25 019 | A to Z law for attenuation exponent |  |  |

3 21 010 (Antenna characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 101 | Type of antenna |  |  |
| 0 07 002 | Height or altitude | Altitude of the tower base |  |
| 0 02 102 | Antenna height above tower base |  |  |
| 0 02 103 | Radome |  |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 02 105 | Maximum antenna gain |  |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 0 02 107 | Sidelobe suppression |  |  |
| 0 02 108 | Crosspol discrimination (on axis) |  |  |
| 0 02 109 | Antenna speed (azimuth) |  |  |
| 0 02 110 | Antenna speed (elevation) |  |  |
| 0 02 132 | Azimuth pointing accuracy |  |  |
| 0 02 133 | Elevation pointing accuracy |  |  |

3 21 011 (General characteristics)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 30 031 | Picture type |  |  |
| 0 30 032 | Combination with other data |  |  |
| 0 29 002 | Coordinate grid type |  |  |

3 21 012 (Antenna elevations)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 1 01 000 | Delayed replication of 1 descriptor |  |  |
| 0 31 001 | Delayed descriptor replication factor |  |  |
| 0 02 135 | Antenna elevation |  |  |

3 21 021 (Basic information (system/site header) on wind profiler/RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 02 003 | Type of measuring equipment used |  |  |
| 0 02 101 | Type of antenna |  |  |
| 2 01 130 | Change data width | 8 bits long |  |
| 0 02 106 | 3-dB beamwidth |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 132 | Change data width | 11 bits long |  |
| 2 02 130 | Change scale | Scale: -6 |  |
| 0 02 121 | Mean frequency |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 133 | Change data width | 11 bits long |  |
| 2 02 129 | Change scale | Scale: 0 |  |
| 0 25 001 | Range-gate length |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 022 (Wind profiler: processed-data winds)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 11 001 | Wind direction |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 11 002 | Wind speed |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 11 006 | w-component |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 023 (Wind profiler: raw-data winds)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 0 21 091 | Radar signal Doppler spectrum 0th moment |  |  |
| 0 21 030 | Signal to noise ratio |  |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 024 (RASS-mode: processed-data RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 12 007 | Virtual temperature |  |  |
| 0 11 006 | w-component |  |  |
| 2 04 000 | Add associated field | Cancel |  |
| 0 21 030 | Signal to noise ratio |  |  |

3 21 025 (RASS-mode: raw-data RASS)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 0 21 091 | Radar signal Doppler spectrum 0th moment |  |  |
| 0 21 030 | Signal to noise ratio |  |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 014 | Doppler mean velocity (radial) |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 0 21 017 | Doppler velocity spectral width |  |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |
| 0 21 092 | RASS signal Doppler spectrum 0th moment, referring to RASS signal |  |  |
| 0 21 030 | Signal to noise ratio | Referring to RASS signal |  |
| 0 25 092 | Acoustic propagation velocity |  |  |
| 2 01 129 | Change data width | 9 bits long |  |
| 2 02 129 | Change scale | Scale: 2 |  |
| 0 21 017 | Doppler velocity spectral width | Referring to RASS signal |  |
| 2 02 000 | Change scale | Cancel |  |
| 2 01 000 | Change data width | Cancel |  |

3 21 026 (RASS data - fluxes)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 07 007 | Height |  |  |
| 2 04 001 | Add associated field | 1 bit long |  |
| 0 31 021 | Associated field significance |  |  |
| 0 12 007 | Virtual temperature |  |  |
| 0 25 091 | Structure constant of the refraction index (Cn2) |  |  |
| 0 11 071 | Turbulent vertical momentum flux |  |  |
| 0 11 072 | Turbulent vertical buoyancy flux |  |  |
| 0 11 073 | Turbulent kinetic energy |  |  |
| 0 11 074 | Dissipation energy |  |  |
| 2 04 000 | Add associated field | Cancel |  |

3 21 027 (Radar specification, normalized radar cross-section, Kp variance coefficient)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 118 | Attenuation correction on sigma-0 |  |  |
| 2 02 129 | Change scale |  |  |
| 2 01 132 | Change data width |  |  |
| 0 02 112 | Radar look angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 131 | Change data width |  |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 21 105 | Normalized radar cross-section |  |  |
| 0 21 106 | Kp variance coefficient (alpha) |  |  |
| 0 21 107 | Kp variance coefficient (beta) |  |  |
| 0 21 114 | Kp variance coefficient (gamma) |  |  |
| 0 21 115 | SEAWINDS sigma-0 quality |  |  |
| 0 21 116 | SEAWINDS sigma-0 mode |  |  |
| 0 08 018 | SEAWINDS land/ice surface type |  |  |
| 0 21 117 | Sigma-0 variance quality control |  |  |

3 21 028 (Radar specification, SEAWINDS normalized radar cross-section, Kp variance coefficient)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 21 118 | Attenuation correction on sigma-0 |  |  |
| 2 02 129 | Change scale |  |  |
| 2 01 132 | Change data width |  |  |
| 0 02 112 | Radar look angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 01 131 | Change data width |  |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 104 | Antenna polarization |  |  |
| 0 21 123 | SEAWINDS normalized radar cross-section |  |  |
| 0 21 106 | Kp variance coefficient (alpha) |  |  |
| 0 21 107 | Kp variance coefficient (beta) |  |  |
| 0 21 114 | Kp variance coefficient (gamma) |  |  |
| 0 21 115 | SEAWINDS sigma-0 quality |  |  |
| 0 21 116 | SEAWINDS sigma-0 mode |  |  |
| 0 08 018 | SEAWINDS land/ice surface type |  |  |
| 0 21 117 | Sigma-0 variance quality control |  |  |

3 21 030 (ASCAT sigma-0 information)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 08 085 | Beam identifier |  |  |
| 2 02 129 | Change scale | Increase scale by 101 |  |
| 2 01 131 | Change data width | Increase width by 3 bits |  |
| 0 02 111 | Radar incidence angle |  |  |
| 2 01 000 | Change data width | Cancel |  |
| 2 02 000 | Change scale | Cancel |  |
| 0 02 134 | Antenna beam azimuth |  |  |
| 0 21 062 | Backscatter |  |  |
| 0 21 063 | Radiometric resolution (noise value) |  |  |
| 0 21 158 | ASCAT Kp estimate quality |  |  |
| 0 21 159 | ASCAT sigma-0 usability |  |  |
| 0 21 160 | ASCAT use of synthetic data |  |  |
| 0 21 161 | ASCAT synthetic data quantity |  |  |
| 0 21 162 | ASCAT satellite orbit and attitude quality |  |  |
| 0 21 163 | ASCAT solar array reflection contamination |  |  |
| 0 21 164 | ASCAT telemetry presence and quality |  |  |
| 0 21 165 | ASCAT extrapolated reference function presence |  |  |
| 0 21 166 | Land fraction |  |  |

3 21 031 (Satellite radar observations)

| TABLE REFERENCES | ELEMENT NAME | ELEMENT DESCRIPTION | NOTE |
| --- | --- | --- | --- |
| 0 01 007 | Satellite identifier |  |  |
| 0 02 019 | Satellite instruments |  |  |
| 0 01 033 | Identification of originating/generating centre |  |  |
| 0 01 034 | Identification of originating/generating sub-centre |  |  |
| 3 01 011 | Year, month, day |  |  |
| 3 01 013 | Hour, minute, second |  |  |
| 3 01 021 | Latitude/longitude (high accuracy) |  |  |
| 0 10 033 | Altitude (platform to ellipsoid) |  |  |
| 0 08 043 | Atmospheric chemical or physical constituent type | Cloud |  |
| 0 25 139 | Processing level |  |  |
| 0 02 153 | Satellite channel centre frequency |  |  |
| 1 06 000 | Delayed replication of 6 descriptors |  |  |
| 0 31 002 | Extended delayed descriptor replication factor |  |  |
| 0 07 071 | Height (high resolution) |  |  |
| 0 21 007 | Radar reflectivity factor |  |  |
| 0 21 008 | Uncertainty in radar reflectivity factor |  |  |
| 0 21 009 | Vertical Doppler velocity |  |  |
| 0 21 010 | Uncertainty in vertical Doppler velocity |  |  |
| 0 33 003 | Quality information |  |  |

Note 4: Additional descriptors are required to reduce the workload with respect to the station database, e.g. for identification of the federal state and identification of the highway.

Note 7: Compound BUFR messages may be described within the data description section, if required (e.g. 3 01 041, 3 04 001, 3 04 002, 3 04 003, 3 04 004, 3 04 005, 3 04 006).

Note 10: Decibel (dB) is a logarithmic measure of the relative power, or of the relative values of two flux densities, especially of sound intensities and radio and radar power densities. In radar meteorology, the logarithmic scale (dBZ) is used for measuring radar reflectivity factor (obtained from the American Meteorological Society Glossary of Meteorology).

Note 15: Descriptors 3 03 021 to 3 03 027 are not available in CREX.

Note 16: Each BUFR message may contain data for a number of locations; the BUFR compression technique involves negligible overheads for data items that are invariant.

Note 32: It could be argued that, as only additions are possible, only complete lines should be allowed; but it is conceivable that local areas will require changes as well as additions, so it is better and in any case clearer to provide descriptions for all the fields.

Note 33: It is better to use different Class 00 descriptors for the defining and defined elements, in the same way as different descriptors correspond to pressure considered as a coordinate and pressure measured at a given point; otherwise special rules would be needed to interpret such message. Entries 0 00 010 to 0 00 012 define F, X and Y for Tables B and D; entry 0 00 030 is a descriptor used as data and provides the F, X and Y values defining a sequence for Table D entries.

Note 34: Latitude displacement 0 05 015 in the sequence represents the latitude offset from the latitude of the launch site. Longitude displacement 0 06 015 in the sequence represents the longitude offset from the longitude of the launch site.

Note 35: Long time displacement 0 04 086 in the sequence represents the time offset from the launch time 3 01 013 (in seconds).

Note 43: Separation of single level satellite data into sets of BUFR messages helps compression and results inefficient data transmission and storage.

Note 49: The majority of stations has only one position on the road and one subsurface temperature sensor. Delayed Replications have been introduced to increase flexibility and volume efficiency.

Note 62: These descriptors should not be used in CREX for transmission.

Note 63: These entries include the facility to update the Table A code figure and data description.